## Sheet1
Report Date: |  |  |  | 2018-09-06 07:23
GRAP 17
District Report
Eastern Cape
Alfred Nzo District Municipality
A promise to assist municipalities in managing infrastructure efficiently
| Organisation |  | Number |  | Description | Serial Number | Purchase Price | Acquisition Date | Estimated Useful Life | Depreciated Value |  | CRC | DRC | Condition | Custodian | Location (Geo-Coordinates)
| Matatiele Local Municipality |  | MAT6858 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Shops no 2 (LV) | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-10 |  | Services---DrainageMunicipal Power Station | Unknown | 59280 | 2010-06-30 | 50 | 50980.8 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6488 |  | Mini Sub-Station/11kV/With RMU/630kVA MS - M28 in crn Fette & Station str | Unknown | 327875.94 | 2009-07-31 | 45 | 269586.88 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-5 |  | Transformer Harry Gwala Ext BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-7 |  | Transformers Harry Gwala Ext BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6765 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Shops no 3 (LV) | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-15 |  | Internal-Wall-StructureMunicipal Power Station | Unknown | 79040 | 2010-06-30 | 50 | 67974.4 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-8 |  | Mv Overhead Lines BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 50 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6845 |  | Ring Main Unit_11kV/630A/3Way Sub Station no 11-RMU | Unknown | 9494.96 | 2009-07-31 | 45 | 7806.97 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6869 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Transformer no 1 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6324 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm MINI SUB NO 16 TO RMU WEST STREET | Unknown | 62543.14 | 2009-07-31 | 50 | 52536.24 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6485 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Sewerage treatment works | Unknown | 155293.27 | 2009-07-31 | 45 | 127685.58 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-16 |  | Services---ElectricalMunicipal Power Station | Unknown | 88920 | 2010-06-30 | 50 | 76471.2 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6344 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB 6 TO SUBSTATION NO 5 | Unknown | 10299.67 | 2009-07-31 | 50 | 8651.72 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6782 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station - Main Supplier in Main str-SG - BUS | Unknown | 118063.57 | 2009-07-31 | 45 | 97074.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6331 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm SUBSTATION NO 11 TO LOCAL TRANSFORMERS | Unknown | 4035.11 | 2009-07-31 | 50 | 3389.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6779 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 1-SG - Minibus 20,21,26 & Substation 11 | Unknown | 77530.09 | 2009-07-31 | 45 | 63746.96 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6181 |  | Small Building Sub Station no 11-Building | Unknown | 395872.68 | 2009-07-31 | 50 | 332533.05 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT25099-1 |  | House Connections Harry Gwala Ext Sub Station no 5-SG - Harry Gwala | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6801 |  | Ground Mounted Transformer/11kV/With RMU/100kVA GMT in FM Tower | Unknown | 9563.41 | 2009-07-31 | 45 | 7863.25 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6345 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB TO SUBSTATION NO 11 POWERSTATION | Unknown | 23174.17 | 2009-07-31 | 50 | 19466.3 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6473 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M4 in Maggie Gesha str | Unknown | 149320.48 | 2009-07-31 | 45 | 122774.62 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6327 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm SUBSTATION 5 TO LOCAL TRANSFORMER NO 2 | Unknown | 2017.36 | 2009-07-31 | 50 | 1694.58 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6820 |  | Ring Main Unit/11kV/630A/2Way Sub Station - Main Supplier in Main str-RMU - ESC 1 | Unknown | 21598.7 | 2009-07-31 | 45 | 17758.93 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-4 |  | Transformer 100kva BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6775 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 1-SG - Main | Unknown | 77530.09 | 2009-07-31 | 45 | 63746.96 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6760 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Main Incomer no 4 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-9 |  | Lv Overhead Lines Harry Gwala Ext BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-4 |  | External-Roof-Painting of RWG'sMunicipal Power Station | Unknown | 19760 | 2010-06-30 | 50 | 16993.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6752 |  | Battery 30V Lead Sub Station - Main Supplier in Main str-Battery Box | Unknown | 2977.54 | 2009-07-31 | 45 | 2448.2 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6297 |  | MV Underground Cable/11kV/3 Core / Al / PILC/25mm MINI SUB CORNER CASTLE AND NORTH TO MINI SUB 21 NORTH STREET | Unknown | 12371.41 | 2009-07-31 | 50 | 10391.98 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6846 |  | Ring Main Unit_11kV/630A/3Way Sub Station in Jagger str-RMU | Unknown | 16185.55 | 2009-07-31 | 45 | 13308.12 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6150 |  | Small Building Sub Station - Telkom in High str-Building | Unknown | 209193.57 | 2009-07-31 | 50 | 175722.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6785 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-Supply - Main Incomer Transformer no 2 | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6192 |  | Small Building Sub Station in Itsokolele-Building | Unknown | 197558.18 | 2009-07-31 | 50 | 165948.87 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6299 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB NO 3 TO RMU GREEN STREET | Unknown | 14591.03 | 2009-07-31 | 50 | 12256.47 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6338 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/70mm ITSOKOLELE SUB TO SANTA MINI SUB | Unknown | 44359.57 | 2009-07-31 | 50 | 37262.04 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6462 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Coffe Port in Long str | Unknown | 127427.39 | 2009-07-31 | 45 | 104773.63 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6158 |  | Small Building Sub Station - Main Supplier in Main str-Building | Unknown | 263992.83 | 2009-07-31 | 50 | 221753.98 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6808 |  | Ground Mounted Transformer/11kV//400kVA Sub Station in Jagger str-GMT | Unknown | 51705.05 | 2009-07-31 | 45 | 42513.04 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6826 |  | Pole Mounted Transformer/11kV/With RMU/25kVA PMT MTN Tower (Municipal Dump) | Unknown | 39063.4 | 2009-07-31 | 45 | 32118.8 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6470 |  | MV Underground Cable/11kV/3 Core / Cu / XLPE/70mm MINI SUB 3 TO MINI SUB NO 4 | Unknown | 1990.18 | 2009-07-31 | 50 | 1671.75 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6474 |  | Mini Sub-Station/11kV/With RMU/800kVA MS - M13 Hospital Mayors Walk str | Unknown | 358926.49 | 2009-07-31 | 45 | 295117.34 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-1 |  | Link Switch Harry Gwala Ext ITSOKOLELE SUB TO SANTA MINI SUB underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6490 |  | Mini Sub-Station/11kV/With RMU/500kVA MS - Mini sub no 4 in Jagger str | Unknown | 172529.62 | 2009-07-31 | 45 | 141857.69 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-18 |  | External-Wall-StructureMunicipal Power Station | Unknown | 158080 | 2010-06-30 | 50 | 135948.8 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-8 |  | Internal-Ceiling-StructureMunicipal Power Station | Unknown | 29640 | 2010-06-30 | 50 | 25490.4 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6450 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M27 in Mountain View | Unknown | 227740.53 | 2009-07-31 | 45 | 187253.32 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6303 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUB 1 TO LOCAL TRANSFORMER | Unknown | 429.22 | 2009-07-31 | 50 | 360.54 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6486 |  | Mini Sub-Station/11kV/With RMU/800kVA MS - M18 in Jagger str | Unknown | 250886.36 | 2009-07-31 | 45 | 206284.34 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6463 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M2 in Bongolethu str | Unknown | 149320.48 | 2009-07-31 | 45 | 122774.62 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6458 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Khotsong TB Hospital | Unknown | 42510.67 | 2009-07-31 | 45 | 34953.22 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6461 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M3 in crn Thembeka & Bongolethu str | Unknown | 149320.48 | 2009-07-31 | 45 | 122774.62 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-12 |  | External-Roof-StructureMunicipal Power Station | Unknown | 69160 | 2010-06-30 | 50 | 59477.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-2 |  | Components---Doors & IronmngryMunicipal Power Station | Unknown | 19760 | 2010-06-30 | 50 | 16993.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-10 |  | Electr Support Structures H Gwala Ext BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6851 |  | Ring Main Unit/11kV/630A/2Way Sub Station - Main Supplier in Main str-RMU - Decca | Unknown | 21598.7 | 2009-07-31 | 45 | 17758.93 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6788 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-Supply - Metro (LV) | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24370 |  | Minisub 500kva MS - M17 in Leach Lane | Unknown | 272047.34 | 2011-12-30 | 45 | 235774.36 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6870 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Incomer Feeder | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6341 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB NO 7 TO OVERHEAD LINE OLD CHAMPION MILL | Unknown | 13732.86 | 2009-07-31 | 50 | 11535.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6313 |  | MV Underground Cable/11kV/3 Core / Al / PILC/25mm SUB 1 TO MINI SUB 20 | Unknown | 16278.18 | 2009-07-31 | 50 | 13673.67 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6312 |  | MV Underground Cable/11kV/3 Core / Al / PILC/25mm SUBSTATION 11 POWERSTATION TO MINI SUB BROWNS | Unknown | 17580.43 | 2009-07-31 | 50 | 14767.56 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6844 |  | Ring Main Unit_12kV/630A/3Way Sub station - Metro in North str-RMU | Unknown | 17907.65 | 2009-07-31 | 45 | 14724.07 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6146 |  | Small Building Sub Station no 5-Building | Unknown | 1063696.07 | 2009-07-31 | 50 | 893504.7 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-13 |  | Internal-Floor-FinishMunicipal Power Station | Unknown | 69160 | 2010-06-30 | 50 | 59477.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6468 |  | MV Underground Cable/11kV/3 Core / Cu / XLPE/70mm MINI SUB NO 5 TO ITSOKOLELE SUBSTATION | Unknown | 1798.82 | 2009-07-31 | 50 | 1511.01 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-11 |  | Components---FittingsMunicipal Power Station | Unknown | 69160 | 2010-06-30 | 50 | 59477.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6853 |  | Pole Mounted Transformer/11kV//200kVA PMT no 2 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6304 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB 1 TO MINI SUB 2 | Unknown | 57506.38 | 2009-07-31 | 50 | 48305.36 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6740 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Main Switch Transformer no 1 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6328 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm SUBSTATION NO 5 TO OVERHEAD LINE SUPPLY HARRY GWALA | Unknown | 211839.7 | 2009-07-31 | 50 | 177945.35 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6487 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Mini sub no 21 in North str | Unknown | 39853.69 | 2009-07-31 | 45 | 32768.59 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6305 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUB 15 TO RMU MAYORS WALK | Unknown | 15449.67 | 2009-07-31 | 50 | 12977.72 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6778 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 1-SG - Sub no 2 | Unknown | 77530.09 | 2009-07-31 | 45 | 63746.96 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6781 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-Supply - Station Road West | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6497 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Borehole no 2 in Harry Gwala | Unknown | 181208.89 | 2009-07-31 | 45 | 148993.98 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6817 |  | Ring Main Unit/11kV/630A/2Way Sub Station - Main Supplier in Main str-RMU - ESC 2 | Unknown | 21598.7 | 2009-07-31 | 45 | 17758.93 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6339 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/120mm TOWN 1 MAIN SUB TO SUB 1 | Unknown | 227617.62 | 2009-07-31 | 50 | 191198.8 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6761 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Shops no 5 (LV) | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6301 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB NO 3 TO MUNIC MINI SUB(PROPOSED UPGRADE TO 120 X 3 CU PILC) undergrund cable | Unknown | 13732.86 | 2009-07-31 | 50 | 11535.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-5 |  | Internal-Ceiling-PaintingMunicipal Power Station | Unknown | 19760 | 2010-06-30 | 50 | 16993.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6300 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MUNIC SUB TO MIN SUB NO 4(PROPOSED UPGRADE TO 120 X 3 CU PILC) | Unknown | 30898.87 | 2009-07-31 | 50 | 25955.05 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6489 |  | Mini Sub-Station/11kV/With RMU/500kVA MS - Boxer in Long str | Unknown | 287338.15 | 2009-07-31 | 45 | 236255.81 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6774 |  | Ground Mounted Transformer/11kV//1000kVA Sub Station no 5-GMT no 2 | Unknown | 184855.3 | 2009-07-31 | 45 | 151992.14 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6306 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUB 14 TO RMU MAYORS WALK | Unknown | 32615.68 | 2009-07-31 | 50 | 27397.17 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6191 |  | Small Building Sub Station in Drakensberg Abattoir-Building | Unknown | 49404.35 | 2009-07-31 | 50 | 41499.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6873 |  | Pole Mounted Transformer/11kV//200kVA PMT no 1 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6149 |  | Small Building Sub Station - Rhino Plaza-Building | Unknown | 251193.88 | 2009-07-31 | 50 | 211002.86 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6860 |  | Pole Mounted Transformer/11kV//200kVA PMT no 8 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6805 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station - Main Supplier in Main str-SG - FM Tower Crushing plant | Unknown | 118063.57 | 2009-07-31 | 45 | 97074.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24953 |  | Transformer Pole Mount 200kva/11kv Main Electricity Office | Unknown | 0 | 2014-02-18 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6776 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-SG - Sub no 20 Mayors Walk Sub no 1 | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6847 |  | Ring Main Unit_11kV/630A/2Way Sub Station in Itsokolele-Ring Main No 1 M5 | Unknown | 19231.87 | 2009-07-31 | 45 | 15812.87 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-6 |  | Internal-Wall-PaintingMunicipal Power Station | Unknown | 19760 | 2010-06-30 | 50 | 16993.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6784 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-Supply - New Local & Street Lighting DB | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT5966 |  | Ring Main Unit_12kV/630A/3Way Sub Station - Rhino Plaza-RMU | Unknown | 21975.49 | 2009-07-31 | 45 | 18068.74 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6821 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Shops no 1 (LV) | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6827 |  | Pole Mounted Transformer/11kV/With RMU/200kVA PMT Harry Gwala Resevoir | Unknown | 63561.92 | 2009-07-31 | 45 | 52262.02 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24952 |  | Transformer Pole Mount 100kva/11kv Main Electricity Office | Unknown | 0 | 2014-02-18 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6822 |  | Pole Mounted Transformer/11kV/With RMU/50kVA PMT Town Dam | Unknown | 35269.46 | 2009-07-31 | 45 | 28999.33 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6484 |  | Mini Sub-Station/11kV/Without RMU/315kVA MS - Mini sub no 2 in crn Main & Castle str | Unknown | 84478.21 | 2009-07-31 | 45 | 69459.86 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6874 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - SG Bus Coupler | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6334 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm RMU METRO TO MINI SUB 18 CHOICE | Unknown | 64560.62 | 2009-07-31 | 50 | 54230.92 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6325 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm MINI SUB NO 12 TO MINI SUB NO 16 | Unknown | 82718.18 | 2009-07-31 | 50 | 69483.27 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6492 |  | Mini Sub-Station/11kV/With RMU/400kVA MS - Mini sub no 9 in crn Green & Long str | Unknown | 126747.92 | 2009-07-31 | 45 | 104214.96 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6790 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 1-SG - Local Transformer 315 KVA | Unknown | 77530.09 | 2009-07-31 | 45 | 63746.96 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6825 |  | Pole Mounted Transformer/11kV/With RMU/25kVA PMT in the road to Maluti | Unknown | 33595.61 | 2009-07-31 | 45 | 27623.06 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6872 |  | Pole Mounted Transformer/11kV//200kVA PMT no 5 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6193 |  | Small Building Sub Station in Jagger str-Building | Unknown | 84426.5 | 2009-07-31 | 50 | 70918.26 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6311 |  | MV Underground Cable/11kV/3 Core / Al / PILC/25mm BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET | Unknown | 26696.2 | 2009-07-31 | 50 | 22424.81 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6780 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station - Main Supplier in Main str-SG - Sub Station no 5 | Unknown | 118063.57 | 2009-07-31 | 45 | 97074.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6464 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M1 in Hostel str | Unknown | 149320.48 | 2009-07-31 | 45 | 122774.62 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6307 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUB 13 TO SUB 14 | Unknown | 21457.53 | 2009-07-31 | 50 | 18024.33 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6494 |  | Mini Sub-Station/11kV/With RMU/400kVA MS - M17 in Jagger str (Sirrah) | Unknown | 108523.87 | 2009-07-31 | 45 | 89230.74 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6326 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm SUB NO 5 TO MINI SUB NO 12 INDUSTRIAL AREA | Unknown | 147279.08 | 2009-07-31 | 50 | 123714.43 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24906 |  | Mv Underground Cable Pilc 300mx95mm Main Electricity Office | Unknown | 0 | 2013-11-18 | 50 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6329 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm SUBSTATION 5 TO LOCAL TRANSFORMER NO 1 | Unknown | 2017.36 | 2009-07-31 | 50 | 1694.58 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6865 |  | Pole Mounted Transformer/11kV//200kVA PMT no 6 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6151 |  | Wire Fence Sub Station no 1-Fencing | Not Applicable | 649.58 | 2009-07-31 | 15 | 303.14 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT25099 |  | House Connections Harry Gwala Ext Sub Station no 5-SG - Harry Gwala | Unknown | 0 | 2013-06-30 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6763 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Shops no 4 (LV) | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6839 |  | Pole Mounted Transformer/11kV/With RMU/25kVA PMT next to Porters Hoek Quarry | Unknown | 32684.31 | 2009-07-31 | 45 | 26873.77 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-1 |  | External-Roof-Facias & RWG'sMunicipal Power Station | Unknown | 9880 | 2010-06-30 | 50 | 8496.8 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6346 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm MINI SUB 18 CHOICE TO MINI SUB NO 6 SIRRAH | Unknown | 31271.63 | 2009-07-31 | 50 | 26268.17 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6491 |  | Mini Sub-Station/11kV/With RMU/400kVA MS - Shoprite in North str | Unknown | 159993.97 | 2009-07-31 | 45 | 131550.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6467 |  | Mini Sub-Station/11kV/With RMU/300kVA MS - MS15 School str | Unknown | 86684.84 | 2009-07-31 | 45 | 71274.2 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6767 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-SG - Local Transformers 315 KVA | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6796 |  | Ground Mounted Transformer/11kV//315kVA Sub Station no 11-GMT no 2 | Unknown | 31808.89 | 2009-07-31 | 45 | 26153.98 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6753 |  | Ground Mounted Transformer/11kV//1000kVA Sub Station no 5-GMT no 1 | Unknown | 184855.3 | 2009-07-31 | 45 | 151992.14 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6373 |  | MV Underground Cable/11kV/3 Core / Cu / XLPE/70mm MINI SUB NO 1 TO MINI SUB NO 2 | Unknown | 918.55 | 2009-07-31 | 50 | 771.58 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6800 |  | Ground Mounted Transformer/11kV//1000kVA Sub Station - Rhino Plaza-GMT | Unknown | 223645.35 | 2009-07-31 | 45 | 183886.18 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6793 |  | Ground Mounted Transformer/11kV//200kVA Sub station - Porters Hoek Quarry-GMT | Unknown | 42834.52 | 2009-07-31 | 45 | 35219.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6495 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Borehole no 4 in Harry Gwala | Unknown | 181208.89 | 2009-07-31 | 45 | 148993.98 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6871 |  | Pole Mounted Transformer/11kV//100kVA PMT no 10 in Harry Gwala | Unknown | 24635.58 | 2009-07-31 | 45 | 20255.92 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6451 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Mini sub no 26 in crn North & Castle str | Unknown | 211021.52 | 2009-07-31 | 45 | 173506.58 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-9 |  | External-Roof-CoveringMunicipal Power Station | Unknown | 59280 | 2010-06-30 | 50 | 50980.8 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6824 |  | Pole Mounted Transformer/11kV/With RMU/25kVA PMT in pump no 7 | Unknown | 33595.61 | 2009-07-31 | 45 | 27623.06 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6758 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Sub no 6 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6783 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-Supply - Bus Coupler | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6771 |  | Ground Mounted Transformer/11kV//200kVA Sub Station in Drakensberg Abattoir-GMT | Unknown | 20512.96 | 2009-07-31 | 45 | 16866.21 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-6 |  | Transformer Harry Gwala Ext BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6499 |  | Mini Sub-Station/11kV/Without RMU/315kVA MS - Mini sub no 19 in North str | Unknown | 164863.39 | 2009-07-31 | 45 | 135554.34 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6343 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUBSTATION NO 11 TO MINI SUB NO 9 | Unknown | 23174.17 | 2009-07-31 | 50 | 19466.3 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6330 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm RHINO SUB TO SUBSTATION 5 BUS RANK | Unknown | 46403.11 | 2009-07-31 | 50 | 38978.61 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6308 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm RMU GREEN STREET TO MINI SUB NO 9 | Unknown | 6866.34 | 2009-07-31 | 50 | 5767.73 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6482 |  | Ring Main Unit/11kV/630A/3Way RMU in West str | Unknown | 26883.39 | 2009-07-31 | 50 | 22582.05 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6336 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm MINI SUB NO 22 TO RMU METRO | Unknown | 30262.88 | 2009-07-31 | 50 | 25420.82 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6483 |  | Ring Main Unit/11kV/630A/2Way RMU in crn Main & Castle str | Unknown | 26198.94 | 2009-07-31 | 50 | 22007.11 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6823 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Sub no 22 Rhino Plaza | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6794 |  | Ground Mounted Transformer/11kV//315kVA Sub Station no 1-GMT | Unknown | 30399.34 | 2009-07-31 | 45 | 24995.01 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6498 |  | MV Underground Cable/11kV/3 Core / Cu / XLPE/70mm SUB TO MINI SUB 1 underground cable | Unknown | 1224.74 | 2009-07-31 | 50 | 1028.78 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6789 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-SG - Sub no 22 Rhino Plaza | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6855 |  | Pole Mounted Transformer/11kV//200kVA PMT no 3 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6454 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Mini sub no 16 crn West & Long str | Unknown | 141402.27 | 2009-07-31 | 45 | 116264.09 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6770 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Main Switch Transformer no 2 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6309 |  | MV Underground Cable/11kV/3 Core / Al / PILC/25mm MIN SUB 21 TO MINI SUB 20 EAST STREET | Unknown | 8464.66 | 2009-07-31 | 50 | 7110.31 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24463 |  | Mini-sub 11000v-11av North str - End Fette str | Unknown | 216597.54 | 2012-07-25 | 45 | 192531.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6333 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm RMU GREEN STREET TO TELKOM SUB8 | Unknown | 9870.46 | 2009-07-31 | 50 | 8291.19 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6773 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-Supply - Main Incomer Transformer no 1 | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6459 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M5 in Maggie Gesha str | Unknown | 179566.02 | 2009-07-31 | 45 | 147643.17 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6152 |  | Wire Fence Sub Station no 5-Fencing | Not Applicable | 3889.63 | 2009-07-31 | 15 | 1815.16 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6465 |  | Mini Sub-Station/11kV/With RMU/300kVA MS - Municipality in Main str | Unknown | 39072.17 | 2009-07-31 | 45 | 32126.01 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6466 |  | Mini Sub-Station/11kV/With RMU/300kVA MS - Mini sub no 12 in West str | Unknown | 234201.48 | 2009-07-31 | 45 | 192565.66 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT25068 |  | Cables 95mm 3 Core Main Electricity Office | Unknown | 1760058 | 2014-06-26 | 50 | 1654454.52 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6804 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station in Itsokolele-Main Incomer no 1 | Unknown | 101383.96 | 2009-07-31 | 45 | 83360.14 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6323 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm MINI SUB NO 17 TO RMU WEST STREET | Unknown | 17754.13 | 2009-07-31 | 50 | 14913.47 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-14 |  | Internal-Floor-StructureMunicipal Power Station | Unknown | 69160 | 2010-06-30 | 50 | 59477.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6314 |  | MV Overhead Line/11kV//Mink RETICULATION - Harry Gwala | Unknown | 260639.78 | 2009-07-31 | 50 | 218937.42 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6332 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm SUBSTATION NO 11 POWER STATION TO RHINO SUBSTATION | Unknown | 70613.09 | 2009-07-31 | 50 | 59315 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6321 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUB NO 1 TO HOSPITAL | Unknown | 23174.17 | 2009-07-31 | 50 | 19466.3 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6755 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-Supply - Bus Coupler | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24330 |  | Mv Underground Cable/11kv/3 Core/ai/pilc/185mm MINI SUB NO 2 TO MINI SUB NO 3 underground cable | Unknown | 1098599.93 | 2011-10-10 | 50 | 966767.94 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6862 |  | Pole Mounted Transformer/11kV//200kVA PMT no in 4 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-7 |  | External-Wall-PaintingMunicipal Power Station | Unknown | 29640 | 2010-06-30 | 50 | 25490.4 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6421 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm RMU WEST STREET TO OVERHEAD LINE HARRY GWALA | Unknown | 50437.95 | 2009-07-31 | 50 | 42367.88 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6148 |  | Small Building Sub station - Porters Hoek Quarry-Building | Unknown | 112682.23 | 2009-07-31 | 50 | 94653.07 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6147 |  | Small Building Sub station - Metro in North str-Building | Unknown | 200825.91 | 2009-07-31 | 50 | 168693.76 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6777 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 1-SG - Sub no 13 (Hospital), Sub 14 (Buxton Park), Sub no 15 | Unknown | 77530.09 | 2009-07-31 | 45 | 63746.96 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6819 |  | Ring Main Unit_11kV/630A/2Way Sub Station in Itsokolele-Ring Main No 1 M1 | Unknown | 19231.87 | 2009-07-31 | 45 | 15812.87 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6342 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm SUB NO 5 TO MINI SUB NO 7 NORTH END | Unknown | 24890.71 | 2009-07-31 | 50 | 20908.2 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT24844-3 |  | Transformer 100kva BROWNS MINI SUB TO MINI SUB CORNER CASTLE AND NORTN STREET underground cable | Unknown | 0 | 2013-07-23 | 45 | 0 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6798 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station - Main Supplier in Main str-SG - Town 2 | Unknown | 118063.57 | 2009-07-31 | 45 | 97074.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6455 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - MS14 Buxton Park | Unknown | 88418.66 | 2009-07-31 | 45 | 72699.79 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6493 |  | Mini Sub-Station/11kV/With RMU/400kVA MS - Mini sub no 10 in Long str | Unknown | 187491.85 | 2009-07-31 | 45 | 154159.97 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6867 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Main Incomer no 2 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6863 |  | Pole Mounted Transformer/11kV//200kVA PMT no 9 in Harry Gwala | Unknown | 60372.96 | 2009-07-31 | 45 | 49639.99 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6452 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Mini sub no 20 in East Str | Unknown | 138574.13 | 2009-07-31 | 45 | 113938.73 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6337 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm MINI SUB NO 10 TO MINI SUB NO 22 undergound cable | Unknown | 40350.48 | 2009-07-31 | 50 | 33894.4 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6795 |  | Ground Mounted Transformer/11kV//315kVA Sub Station no 11-GMT no 1 | Unknown | 33813.31 | 2009-07-31 | 45 | 27802.05 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6496 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - Borehole no 3 in Harry Gwala | Unknown | 181208.89 | 2009-07-31 | 45 | 148993.98 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6322 |  | MV Underground Cable/11kV/3 Core / Cu / PILC/95mm RMU NORTH STREET METRO TO MINI SUB 19 | Unknown | 6052.47 | 2009-07-31 | 50 | 5084.07 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-3 |  | Components---Windows & GlazingMunicipal Power Station | Unknown | 19760 | 2010-06-30 | 50 | 16993.6 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6457 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - MS in Jagger str | Unknown | 99563.33 | 2009-07-31 | 45 | 81863.18 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6340 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm CLINIC SUBSTATION TO SANTA MINI SUBSTATION | Unknown | 21028.57 | 2009-07-31 | 50 | 17664 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6310 |  | MV Underground Cable/11kV/3 Core / Al / PILC/70mm MINI SUB NO 9 TO MINI SUB NO 10 | Unknown | 18024.22 | 2009-07-31 | 50 | 15140.34 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6807 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station - Main Supplier in Main str-SG - Town 1 | Unknown | 118063.57 | 2009-07-31 | 45 | 97074.49 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6469 |  | MV Underground Cable/11kV/3 Core / Cu / XLPE/70mm MINI SUB NO 4 TO MINI SUB NO 5 | Unknown | 1033.36 | 2009-07-31 | 50 | 868.02 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT4100-17 |  | Services---PlumbingMunicipal Power Station | Unknown | 98800 | 2010-06-30 | 50 | 84968 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6762 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 11-SG - Green str Sub no 9 | Unknown | 51555.59 | 2009-07-31 | 45 | 42390.15 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6757 |  | MV Switchgear (Single Bus Bar)/12kV/630A Sub Station no 5-SG - Transformer no 2 | Unknown | 82123.36 | 2009-07-31 | 45 | 67523.65 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6183 |  | Small Building Sub Station no 1-Building | Unknown | 189431.12 | 2009-07-31 | 50 | 159122.14 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6471 |  | MV Underground Cable/11kV/3 Core / Cu / XLPE/70mm MINI SUB NO 2 TO MINI SUB NO 3 underground cable | Unknown | 1071.65 | 2009-07-31 | 50 | 900.19 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6803 |  | MV Switchgear (Single Bus Bar)/12kV/1250A Sub Station no 5-SG - Harry Gwala | Unknown | 103885.31 | 2009-07-31 | 45 | 85416.81 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6453 |  | Mini Sub-Station/11kV/With RMU/315kVA MS - M17 in Leach Lane | Unknown | 250032.13 | 2009-07-31 | 45 | 205581.97 |  | 0 | 0 | Fair | Unknown | Not Available
| Matatiele Local Municipality |  | MAT6802 |  | Mini Sub-Station/11kV/With RMU/400kVA MS - Mini sub no 3 crn Green & Main s | Unknown | 130217.51 | 2009-07-31 | 45 | 107067.73 |  | 0 | 0 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 953 |  | BIZANA EXTENSION 2 MV Overhead Line 1 | Unknown | 29557.41 | 1990-06-30 | 50 | 0 |  | 60759 | 29557.41 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 899 |  | BIZANA EXTENSION 4 LV Overhead Line 6 | Unknown | 22171.28 | 1990-06-30 | 45 | 0 |  | 45575.89 | 22171.28 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 881 |  | BIZANA LV Overhead Line 13 | Unknown | 25466.68 | 1990-06-30 | 45 | 0 |  | 52350 | 25466.68 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 865 |  | BIZANA LV Underground Cable 1 | Unknown | 74333.92 | 1990-06-30 | 45 | 0 |  | 152802.82 | 74333.92 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 944 |  | BIZANA EXTENSION 3 LV Overhead Line 4 | Unknown | 6980.02 | 1990-06-30 | 45 | 0 |  | 14348.31 | 6980.02 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 942 |  | BIZANA EXTENSION 3 LV Overhead Line 6 | Unknown | 23348.2 | 1990-06-30 | 45 | 0 |  | 47995.19 | 23348.2 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 945 |  | BIZANA EXTENSION 3 LV Overhead Line 3 | Unknown | 5902.69 | 1990-06-30 | 45 | 0 |  | 12133.72 | 5902.69 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 875 |  | BIZANA LV Overhead Line 19 | Unknown | 27023.39 | 1990-06-30 | 45 | 0 |  | 55550 | 27023.39 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 911 |  | BIZANA EXTENSION 4 LV Overhead Line 30 | Unknown | 28544.74 | 1990-06-30 | 45 | 0 |  | 58677.33 | 28544.74 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 866 |  | BIZANA LV Overhead Line 9 | Unknown | 80498.55 | 1990-06-30 | 45 | 0 |  | 165475 | 80498.55 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 940 |  | BIZANA EXTENSION 3 LV Overhead Line 8 | Unknown | 29196.57 | 1990-06-30 | 45 | 0 |  | 60017.25 | 29196.57 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 855 |  | BIZANA MV Overhead Line 6 | Unknown | 46632.93 | 1990-06-30 | 50 | 0 |  | 95859.9 | 46632.93 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 918 |  | BIZANA EXTENSION 4 LV Overhead Line 24 | Unknown | 12955.13 | 1990-06-30 | 45 | 0 |  | 26630.91 | 12955.13 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 816 |  | Highland View Transformer 10-Meter Box | Unknown | 1970.14 | 2006-06-30 | 45 | 0 |  | 2838.28 | 1970.14 | Good | Unknown | -29.853243 S, -30.851881 E
| Mbizana Local Municipality |  | 799 |  | Emabhanoyini Transformer 1-Transformer (Delete) | Unknown | 66815.29 | 2000-06-30 | 45 | 0 |  | 102130.06 | 66815.29 | Good | Unknown | -29.858898 S, -30.858930 E
| Mbizana Local Municipality |  | 856 |  | BIZANA MV Overhead Line 5 | Unknown | 36871.45 | 1990-06-30 | 50 | 0 |  | 75793.95 | 36871.45 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 854 |  | BIZANA MV Overhead Line 7 | Unknown | 74900.72 | 1990-06-30 | 50 | 0 |  | 153967.95 | 74900.72 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 803 |  | Eskom Transformer 2-Transformer | Unknown | 80513.48 | 2011-06-30 | 45 | 0 |  | 95993.3 | 80513.48 | Very good | Unknown | -29.858797 S, -30.864254 E
| Mbizana Local Municipality |  | 829 |  | Pump Station Transformer-Transformer | Unknown | 33706.22 | 1980-06-30 | 45 | 0 |  | 83144.91 | 33706.22 | Poor | Unknown | -29.844029 S, -30.866540 E
| Mbizana Local Municipality |  | 834 |  | Ferguson Transformer-Circuit Breaker Casing | Unknown | 11457.35 | 1990-06-30 | 45 | 0 |  | 23222.31 | 11457.35 | Fair | Unknown | -29.859944 S, -30.853177 E
| Mbizana Local Municipality |  | 832 |  | Police Camp-Transformer | Unknown | 46966.2 | 1991-06-30 | 45 | 0 |  | 95993.3 | 46966.2 | Fair | Unknown | -29.857907 S, -30.851809 E
| Mbizana Local Municipality |  | 838 |  | Highland View transformer 3a-Transformer | Unknown | 101446.08 | 2010-06-30 | 45 | 0 |  | 123418.85 | 101446.08 | Very good | Unknown | -29.846210 S, -30.860750 E
| Mbizana Local Municipality |  | 791 |  | FNB Transformer-Circuit Breaker | Unknown | 59166.15 | 2011-06-30 | 45 | 0 |  | 70541.65 | 59166.15 | Very good | Unknown | -29.853742 S, -30.859957 E
| Mbizana Local Municipality |  | 903 |  | BIZANA EXTENSION 4 LV Overhead Line 38 | Unknown | 10429.29 | 1990-06-30 | 45 | 0 |  | 21438.72 | 10429.29 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 774 |  | Hospital Substation-Circuit breaker | Unknown | 248879.15 | 2011-06-30 | 45 | 0 |  | 296729.56 | 248879.15 | Very good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 773 |  | Rhino Mini Substation-Concrete Base | Unknown | 20234.96 | 2011-06-30 | 45 | 0 |  | 24125.41 | 20234.96 | Very good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 817 |  | Spar Substation-Transformer | Unknown | 259700.04 | 2000-06-30 | 45 | 0 |  | 396962.72 | 259700.04 | Good | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 915 |  | BIZANA EXTENSION 4 LV Overhead Line 27 | Unknown | 11850.64 | 1990-06-30 | 45 | 0 |  | 24360.49 | 11850.64 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 861 |  | BIZANA MV Overhead Line 10 | Unknown | 38707.02 | 1990-06-30 | 50 | 0 |  | 79567.2 | 38707.02 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 782 |  | Bizana Square Transformer-Transformer | Unknown | 85660.63 | 2011-06-30 | 45 | 0 |  | 102130.06 | 85660.63 | Very good | Unknown | -29.855575 S, -30.861504 E
| Mbizana Local Municipality |  | 916 |  | BIZANA EXTENSION 4 LV Overhead Line 26 | Unknown | 36638.3 | 1990-06-30 | 45 | 0 |  | 75314.67 | 36638.3 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 900 |  | BIZANA EXTENSION 4 LV Overhead Line 5 | Unknown | 11452.3 | 1990-06-30 | 45 | 0 |  | 23541.65 | 11452.3 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 943 |  | BIZANA EXTENSION 3 LV Overhead Line 5 | Unknown | 5323.28 | 1990-06-30 | 45 | 0 |  | 10942.68 | 5323.28 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 883 |  | BIZANA LV Overhead Line 11 | Unknown | 19020.96 | 1990-06-30 | 45 | 0 |  | 39100 | 19020.96 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 836 |  | Ferguson Transformer 2-Transformer | Unknown | 66645.35 | 2012-10-02 | 45 | 0 |  | 95993.3 | 82190.85 | Very good | Unknown | -29.865872 S, -30.848775 E
| Mbizana Local Municipality |  | 858 |  | BIZANA MV Overhead Line 3 | Unknown | 90027.71 | 1990-06-30 | 50 | 0 |  | 185063.4 | 90027.71 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 840 |  | Municipal building transformer-Transformer | Unknown | 197242.13 | 2010-06-30 | 45 | 0 |  | 239963.9 | 197242.13 | Very good | Unknown | -29.856790 S, -30.856760 E
| Mbizana Local Municipality |  | 772 |  | Rhino Mini Substation-Circuit Breaker | Unknown | 59166.15 | 2011-06-30 | 45 | 0 |  | 70541.65 | 59166.15 | Very good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 902 |  | BIZANA EXTENSION 4 LV Overhead Line 39 | Unknown | 7677.11 | 1990-06-30 | 45 | 0 |  | 15781.28 | 7677.11 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 934 |  | BIZANA EXTENSION 4 LV Overhead Line 1 | Unknown | 34275.41 | 1990-06-30 | 45 | 0 |  | 70457.46 | 34275.41 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 849 |  | BIZANA MV Underground Cable 3 | Unknown | 33182.38 | 1990-06-30 | 50 | 0 |  | 68210.6 | 33182.38 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 852 |  | BIZANA MV Overhead Line 9 | Unknown | 19447.64 | 1990-06-30 | 50 | 0 |  | 39977.1 | 19447.64 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 938 |  | BIZANA EXTENSION 3 MV Overhead Line 1 | Unknown | 29133.81 | 1990-06-30 | 50 | 0 |  | 59888.25 | 29133.81 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 777 |  | Hospital Substation-Transformer | Unknown | 226380.47 | 2007-06-30 | 45 | 0 |  | 293375.22 | 226380.47 | Good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 931 |  | BIZANA EXTENSION 4 LV Overhead Line 12 | Unknown | 17708.06 | 1990-06-30 | 45 | 0 |  | 36401.16 | 17708.06 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 864 |  | BIZANA LV Underground Cable 2 | Unknown | 15513.91 | 1990-06-30 | 45 | 0 |  | 31890.82 | 15513.91 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 779 |  | Taxi Rank Mini Substation-Transformer | Unknown | 1163326.03 | 2011-06-30 | 45 | 0 |  | 1386991.35 | 1163326.03 | Very good | Unknown | -29.855575 S, -30.861504 E
| Mbizana Local Municipality |  | 844 |  | BIZANA MV Underground Cable 8 | Unknown | 28252.64 | 1990-06-30 | 50 | 0 |  | 58076.89 | 28252.64 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 877 |  | BIZANA LV Overhead Line 17 | Unknown | 19581.37 | 1990-06-30 | 45 | 0 |  | 40252 | 19581.37 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 880 |  | BIZANA LV Overhead Line 14 | Unknown | 3247.18 | 1990-06-30 | 45 | 0 |  | 6675 | 3247.18 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 807 |  | Highland View Transformer 2-Transformer | Unknown | 80513.48 | 2011-06-30 | 45 | 0 |  | 95993.3 | 80513.48 | Very good | Unknown | -29.847130 S, -30.864215 E
| Mbizana Local Municipality |  | 808 |  | Highland View Transformer 3-Transformer | Unknown | 132768.37 | 2011-06-30 | 45 | 0 |  | 158294.9 | 132768.37 | Very good | Unknown | -29.847661 S, -30.865049 E
| Mbizana Local Municipality |  | 796 |  | Boxer Substation-Transformer | Unknown | 192563.46 | 1992-06-30 | 45 | 0 |  | 411342.33 | 192563.46 | Fair | Unknown | -29.854016 S, -30.858191 E
| Mbizana Local Municipality |  | 811 |  | Highland View Transformer 6-Transformer | Unknown | 66645.35 | 2012-10-02 | 45 | 0 |  | 95993.3 | 82092.18 | Very good | Unknown | -29.847871 S, -30.856641 E
| Mbizana Local Municipality |  | 792 |  | Prison Mini Substation-Transformer | Unknown | 474063.44 | 2000-06-30 | 45 | 0 |  | 748070.22 | 474063.44 | Good | Unknown | -29.854533 S, -30.855638 E
| Mbizana Local Municipality |  | 781 |  | Taxi Rank Mini Substation-Transformer Base | Unknown | 5951.46 | 2011-06-30 | 45 | 0 |  | 7095.71 | 5951.46 | Poor | Unknown | -29.855575 S, -30.861504 E
| Mbizana Local Municipality |  | 784 |  | Transformer Opposite Bizana Square-Transformer | Unknown | 143538.34 | 1991-06-30 | 45 | 0 |  | 293375.22 | 143538.34 | Fair | Unknown | -29.852849 S, -30.860584 E
| Mbizana Local Municipality |  | 806 |  | Highland View Transformer 1-Transformer | Unknown | 66645.35 | 2012-10-02 | 45 | 0 |  | 95993.3 | 82092.18 | Very good | Unknown | -29.847661 S, -30.865049 E
| Mbizana Local Municipality |  | 892 |  | BIZANA EXTENSION 4 MV Overhead Line 3 | Unknown | 5544.37 | 1990-06-30 | 50 | 0 |  | 11397.15 | 5544.37 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 948 |  | BIZANA EXTENSION 3 LV Overhead Line 11 | Unknown | 9895.15 | 1990-06-30 | 45 | 0 |  | 20340.73 | 9895.15 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 846 |  | BIZANA MV Underground Cable 6 | Unknown | 18534.93 | 1990-06-30 | 50 | 0 |  | 38100.9 | 18534.93 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 868 |  | BIZANA LV Overhead Line 7 | Unknown | 14241.4 | 1990-06-30 | 45 | 0 |  | 29275 | 14241.4 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 853 |  | BIZANA MV Overhead Line 8 | Unknown | 126466.16 | 1990-06-30 | 50 | 0 |  | 259967.25 | 126466.16 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 908 |  | BIZANA EXTENSION 4 LV Overhead Line 33 | Unknown | 10601.3 | 1990-06-30 | 45 | 0 |  | 21792.31 | 10601.3 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 956 |  | BIZANA EXTENSION 2 LV Overhead Line 3 | Unknown | 14738.61 | 1990-06-30 | 45 | 0 |  | 30297.08 | 14738.61 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 947 |  | BIZANA EXTENSION 3 LV Overhead Line 12 | Unknown | 15861.2 | 1990-06-30 | 45 | 0 |  | 32604.72 | 15861.2 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 907 |  | BIZANA EXTENSION 4 LV Overhead Line 34 | Unknown | 5947.95 | 1990-06-30 | 45 | 0 |  | 12226.77 | 5947.95 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 793 |  | Prison Mini Substation-Transformer Base | Unknown | 1439.06 | 2000-06-30 | 45 | 0 |  | 2199.67 | 1439.06 | Good | Unknown | -29.854533 S, -30.855638 E
| Mbizana Local Municipality |  | 810 |  | Highland View Transformer 5-Transformer | Unknown | 51146.75 | 2012-10-02 | 45 | 0 |  | 73669.73 | 63050.81 | Very good | Unknown | -29.847480 S, -30.858386 E
| Mbizana Local Municipality |  | 770 |  | Main Section Breaker-Main Auto Recloser | Unknown | 57725.09 | 2012-10-02 | 45 | 0 |  | 83144.91 | 71572.2 | Very good | Unknown | -29.855789 S, -30.857400 E
| Mbizana Local Municipality |  | 897 |  | BIZANA EXTENSION 4 LV Overhead Line 8 | Unknown | 43391.98 | 1990-06-30 | 45 | 0 |  | 89197.73 | 43391.98 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 919 |  | BIZANA EXTENSION 4 LV Overhead Line 23 | Unknown | 32129.8 | 1990-06-30 | 45 | 0 |  | 66046.89 | 32129.8 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 957 |  | BIZANA EXTENSION 2 LV Overhead Line 2 | Unknown | 28191.66 | 1990-06-30 | 45 | 0 |  | 57951.54 | 28191.66 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 946 |  | BIZANA EXTENSION 3 LV Overhead Line 2 | Unknown | 37914.8 | 1990-06-30 | 45 | 0 |  | 77938.68 | 37914.8 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 935 |  | BIZANA EXTENSION 3 MV Overhead Line 3 | Unknown | 523499 | 2012-12-05 | 50 | 0 |  | 50290.65 | 43687.27 | Very good | Unknown | Not Available
| Mbizana Local Municipality |  | 845 |  | BIZANA MV Underground Cable 7 | Unknown | 16105.26 | 1990-06-30 | 50 | 0 |  | 33106.4 | 16105.26 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 822 |  | Cultural Village Transformer-Circuit Breaker Casing | Unknown | 16750.65 | 2004-06-30 | 45 | 0 |  | 23222.31 | 16750.65 | Good | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 941 |  | BIZANA EXTENSION 3 LV Overhead Line 7 | Unknown | 6418.72 | 1990-06-30 | 45 | 0 |  | 13194.49 | 6418.72 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 812 |  | Highland View Transformer-Transformer | Unknown | 80513.48 | 2011-06-30 | 45 | 0 |  | 95993.3 | 80513.48 | Very good | Unknown | -29.850244 S, -30.859557 E
| Mbizana Local Municipality |  | 904 |  | BIZANA EXTENSION 4 LV Overhead Line 37 | Unknown | 12837.44 | 1990-06-30 | 45 | 0 |  | 26388.98 | 12837.44 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 794 |  | Albany Substation-Transformer | Unknown | 104082.63 | 1983-06-30 | 45 | 0 |  | 306969.22 | 104082.63 | Poor | Unknown | -29.854533 S, -30.855638 E
| Mbizana Local Municipality |  | 909 |  | BIZANA EXTENSION 4 LV Overhead Line 32 | Unknown | 24742.39 | 1990-06-30 | 45 | 0 |  | 50861.13 | 24742.39 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 843 |  | BIZANA MV Underground Cable 9 | Unknown | 2159.64 | 1990-06-30 | 50 | 0 |  | 4439.42 | 2159.64 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 848 |  | BIZANA MV Underground Cable 4 | Unknown | 60355.31 | 1990-06-30 | 50 | 0 |  | 124068 | 60355.31 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 801 |  | Bargain Holesalers Transformer-Transformer | Unknown | 137933.21 | 1998-06-30 | 45 | 0 |  | 222233.45 | 137933.21 | Good | Unknown | -29.861105 S, -30.857730 E
| Mbizana Local Municipality |  | 771 |  | Rhino Mini Substation-Transformer | Unknown | 85660.63 | 2011-06-30 | 45 | 0 |  | 102130.06 | 85660.63 | Very good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 894 |  | BIZANA EXTENSION 4 MV Overhead Line 10 | Unknown | 16482.49 | 1990-06-30 | 50 | 0 |  | 33881.85 | 16482.49 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 814 |  | Highland View Transformer 9-Transformer | Unknown | 77227.22 | 2009-06-30 | 45 | 0 |  | 95993.3 | 77227.22 | Very good | Unknown | -29.850472 S, -30.854399 E
| Mbizana Local Municipality |  | 949 |  | BIZANA EXTENSION 3 LV Overhead Line 10 | Unknown | 16322.92 | 1990-06-30 | 45 | 0 |  | 33553.83 | 16322.92 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 842 |  | Albany Ground Mounted Transformer-Transformer | Unknown | 446553 | 2010-06-30 | 45 | 0 |  | 543274.4 | 446553 | Very good | Unknown | -29.851240 S, -30.858080 E
| Mbizana Local Municipality |  | 837 |  | Ferguson Transformer 3-Transformer | Unknown | 80513.48 | 2011-06-30 | 45 | 0 |  | 95993.3 | 80513.48 | Very good | Unknown | -29.868093 S, -30.847426 E
| Mbizana Local Municipality |  | 930 |  | BIZANA EXTENSION 4 LV Overhead Line 13 | Unknown | 13978.14 | 1990-06-30 | 45 | 0 |  | 28733.84 | 13978.14 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 850 |  | BIZANA MV Underground Cable 2 | Unknown | 19159.7 | 1990-06-30 | 50 | 0 |  | 39385.2 | 19159.7 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 830 |  | Pump Station Transformer-Meter Casing | Unknown | 1142.68 | 1985-06-30 | 45 | 0 |  | 2838.28 | 1142.68 | Poor | Unknown | -29.844029 S, -30.866540 E
| Mbizana Local Municipality |  | 893 |  | BIZANA EXTENSION 4 MV Overhead Line 2 | Unknown | 9940.32 | 1990-06-30 | 50 | 0 |  | 20433.6 | 9940.32 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 891 |  | BIZANA EXTENSION 4 MV Overhead Line 4 | Unknown | 126230.83 | 1990-06-30 | 50 | 0 |  | 259483.5 | 126230.83 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 929 |  | BIZANA EXTENSION 4 LV Overhead Line 14 | Unknown | 40458.75 | 1990-06-30 | 45 | 0 |  | 83168.09 | 40458.75 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 863 |  | BIZANA LV Underground Cable 3 | Unknown | 11861.8 | 1990-06-30 | 45 | 0 |  | 24383.43 | 11861.8 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 785 |  | Transformer Opposite Bizana Square-Transformer Base | Unknown | 14928.25 | 1991-06-30 | 45 | 0 |  | 30511.55 | 14928.25 | Fair | Unknown | -29.852849 S, -30.860584 E
| Mbizana Local Municipality |  | 815 |  | Highland View Transformer 10-Transformer | Unknown | 70851.87 | 2005-06-30 | 45 | 0 |  | 95993.3 | 70851.87 | Good | Unknown | -29.853243 S, -30.851881 E
| Mbizana Local Municipality |  | 926 |  | BIZANA EXTENSION 4 LV Overhead Line 17 | Unknown | 16685.05 | 1990-06-30 | 45 | 0 |  | 34298.23 | 16685.05 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 925 |  | BIZANA EXTENSION 4 LV Overhead Line 18 | Unknown | 28101.13 | 1990-06-30 | 45 | 0 |  | 57765.44 | 28101.13 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 917 |  | BIZANA EXTENSION 4 LV Overhead Line 25 | Unknown | 10791.41 | 1990-06-30 | 45 | 0 |  | 22183.12 | 10791.41 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 886 |  | BIZANA EXTENSION 4 MV Overhead Line 9 | Unknown | 16482.49 | 1990-06-30 | 50 | 0 |  | 33881.85 | 16482.49 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 873 |  | BIZANA LV Overhead Line 20 | Unknown | 2140.47 | 1990-06-30 | 45 | 0 |  | 4400 | 2140.47 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 954 |  | BIZANA EXTENSION 2 LV Overhead Line 5 | Unknown | 17418.35 | 1990-06-30 | 45 | 0 |  | 35805.64 | 17418.35 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 823 |  | Cultural Village Transformer-Concrete Base For Casing | Unknown | 4093.34 | 2004-06-30 | 45 | 0 |  | 5674.82 | 4093.34 | Good | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 924 |  | BIZANA EXTENSION 4 LV Overhead Line 19 | Unknown | 16141.85 | 1990-06-30 | 45 | 0 |  | 33181.63 | 16141.85 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 809 |  | Highland View Transformer 4-Transformer | Unknown | 66645.35 | 2012-10-02 | 45 | 0 |  | 95993.3 | 82123.75 | Very good | Unknown | -29.844913 S, -30.863248 E
| Mbizana Local Municipality |  | 788 |  | FNB Transformer-Transformer | Unknown | 85660.63 | 2011-06-30 | 45 | 0 |  | 102130.06 | 85660.63 | Very good | Unknown | -29.853742 S, -30.859957 E
| Mbizana Local Municipality |  | 821 |  | Cultural Village Transformer-Transformer Concrete Base | Unknown | 15793.14 | 2004-06-30 | 45 | 0 |  | 22706.27 | 15793.14 | Good | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 804 |  | Hope St Transformer-Transformer | Unknown | 59990.44 | 1998-06-30 | 45 | 0 |  | 95993.3 | 59990.44 | Good | Unknown | -29.858476 S, -30.864600 E
| Mbizana Local Municipality |  | 841 |  | Bizana Ground Mounted Transformer-Transformer | Unknown | 107321.41 | 2010-06-30 | 45 | 0 |  | 130566.75 | 107321.41 | Very good | Unknown | -29.852850 S, -30.860580 E
| Mbizana Local Municipality |  | 833 |  | Ferguson Transformer-Transformer | Unknown | 29662.86 | 1987-06-30 | 45 | 0 |  | 95993.3 | 29662.86 | Poor | Unknown | -29.859944 S, -30.853177 E
| Mbizana Local Municipality |  | 789 |  | FNB Transformer-Concrete Base | Unknown | 19044.67 | 2011-06-30 | 45 | 0 |  | 22706.27 | 19044.67 | Very good | Unknown | -29.853742 S, -30.859957 E
| Mbizana Local Municipality |  | 798 |  | Emabhanoyini Transformer 1-Transformer | Unknown | 62800.52 | 2000-06-30 | 45 | 0 |  | 95993.3 | 62800.52 | Good | Unknown | -29.858898 S, -30.858930 E
| Mbizana Local Municipality |  | 896 |  | BIZANA EXTENSION 4 LV Overhead Line 9 | Unknown | 21039.63 | 1990-06-30 | 45 | 0 |  | 43249.64 | 21039.63 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 932 |  | BIZANA EXTENSION 4 LV Overhead Line 11 | Unknown | 18061.13 | 1990-06-30 | 45 | 0 |  | 37126.95 | 18061.13 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 867 |  | BIZANA LV Overhead Line 8 | Unknown | 33067.77 | 1990-06-30 | 45 | 0 |  | 67975 | 33067.77 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 831 |  | Mdakamfene Transformer-Transformer | Unknown | 78577.2 | 1991-06-30 | 45 | 0 |  | 158294.9 | 78577.2 | Fair | Unknown | -29.844684 S, -30.849274 E
| Mbizana Local Municipality |  | 847 |  | BIZANA MV Underground Cable 5 | Unknown | 176047.11 | 1990-06-30 | 50 | 0 |  | 361887.2 | 176047.11 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 786 |  | Transformer Opposite Bizana Square-CDU | Unknown | 8782.62 | 1991-06-30 | 45 | 0 |  | 17950.62 | 8782.62 | Fair | Unknown | -29.852849 S, -30.860584 E
| Mbizana Local Municipality |  | 888 |  | BIZANA EXTENSION 4 MV Overhead Line 7 | Unknown | 115509.21 | 1990-06-30 | 50 | 0 |  | 237443.85 | 115509.21 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 825 |  | Browns Transformer-Transformer | Unknown | 79159.61 | 1999-06-30 | 45 | 0 |  | 123418.85 | 79159.61 | Good | Unknown | -29.855575 S, -30.861504 E
| Mbizana Local Municipality |  | 780 |  | Taxi Rank Mini Substation-Transformer Casing | Unknown | 19477.5 | 2011-06-30 | 45 | 0 |  | 23222.31 | 19477.5 | Very good | Unknown | -29.855575 S, -30.861504 E
| Mbizana Local Municipality |  | 871 |  | BIZANA LV Overhead Line 4 | Unknown | 71462.38 | 1990-06-30 | 45 | 0 |  | 146900 | 71462.38 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 928 |  | BIZANA EXTENSION 4 LV Overhead Line 15 | Unknown | 6780.85 | 1990-06-30 | 45 | 0 |  | 13938.89 | 6780.85 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 828 |  | Highland View Transformer-Transformer | Unknown | 80513.48 | 2011-06-30 | 45 | 0 |  | 95993.3 | 80513.48 | Very good | Unknown | -29.847075 S, -30.865670 E
| Mbizana Local Municipality |  | 910 |  | BIZANA EXTENSION 4 LV Overhead Line 31 | Unknown | 5187.48 | 1990-06-30 | 45 | 0 |  | 10663.53 | 5187.48 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 913 |  | BIZANA EXTENSION 4 LV Overhead Line 29 | Unknown | 13742.76 | 1990-06-30 | 45 | 0 |  | 28249.98 | 13742.76 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 887 |  | BIZANA EXTENSION 4 MV Overhead Line 8 | Unknown | 49033.29 | 1990-06-30 | 50 | 0 |  | 100794.15 | 49033.29 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 890 |  | BIZANA EXTENSION 4 MV Overhead Line 5 | Unknown | 5619.67 | 1990-06-30 | 50 | 0 |  | 11551.95 | 5619.67 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 884 |  | BIZANA LV Overhead Line 10 | Unknown | 9534.8 | 1990-06-30 | 45 | 0 |  | 19600 | 9534.8 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 906 |  | BIZANA EXTENSION 4 LV Overhead Line 35 | Unknown | 38602.84 | 1990-06-30 | 45 | 0 |  | 79353.04 | 38602.84 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 905 |  | BIZANA EXTENSION 4 LV Overhead Line 36 | Unknown | 13009.45 | 1990-06-30 | 45 | 0 |  | 26742.57 | 13009.45 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 914 |  | BIZANA EXTENSION 4 LV Overhead Line 28 | Unknown | 25249.37 | 1990-06-30 | 45 | 0 |  | 51903.29 | 25249.37 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 922 |  | BIZANA EXTENSION 4 LV Overhead Line 20 | Unknown | 16467.77 | 1990-06-30 | 45 | 0 |  | 33851.59 | 16467.77 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 800 |  | Emabhanoyini Transformer 2-Transformer | Unknown | 62800.52 | 2000-06-30 | 45 | 0 |  | 95993.3 | 62800.52 | Good | Unknown | -29.858898 S, -30.858930 E
| Mbizana Local Municipality |  | 860 |  | BIZANA MV Overhead Line 11 | Unknown | 32663.76 | 1990-06-30 | 50 | 0 |  | 67144.5 | 32663.76 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 775 |  | Hospital Substation-RMU | Unknown | 39830.4 | 2011-06-30 | 45 | 0 |  | 47488.34 | 39830.4 | Very good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 936 |  | BIZANA EXTENSION 3 MV Overhead Line 3 | Unknown | 196370 | 2013-01-02 | 50 | 0 |  | 201143.25 | 181203.84 | Very good | Unknown | Not Available
| Mbizana Local Municipality |  | 835 |  | Ferguson Transformer 1-Transformer | Unknown | 61190.25 | 1999-06-30 | 45 | 0 |  | 95993.3 | 61190.25 | Good | Unknown | -29.863944 S, -30.850576 E
| Mbizana Local Municipality |  | 869 |  | BIZANA LV Overhead Line 6 | Unknown | 145636.83 | 1990-06-30 | 45 | 0 |  | 299375 | 145636.83 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 851 |  | BIZANA MV Underground Cable 1 | Unknown | 13328.49 | 1990-06-30 | 50 | 0 |  | 27398.4 | 13328.49 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 882 |  | BIZANA LV Overhead Line 12 | Unknown | 23399.19 | 1990-06-30 | 45 | 0 |  | 48100 | 23399.19 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 870 |  | BIZANA LV Overhead Line 5 | Unknown | 65490.97 | 1990-06-30 | 45 | 0 |  | 134625 | 65490.97 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 895 |  | BIZANA EXTENSION 4 MV Overhead Line 1 | Unknown | 36212.53 | 1990-06-30 | 50 | 0 |  | 74439.45 | 36212.53 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 872 |  | BIZANA LV Overhead Line 3 | Unknown | 72325.86 | 1990-06-30 | 45 | 0 |  | 148675 | 72325.86 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 818 |  | Spar Substation-Concrete Base | Unknown | 19496.98 | 2000-06-30 | 45 | 0 |  | 29801.98 | 19496.98 | Good | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 802 |  | Eskom Transformer 1-Transformer | Unknown | 57701.33 | 1994-06-30 | 45 | 0 |  | 95993.3 | 57701.33 | Good | Unknown | -29.859679 S, -30.864080 E
| Mbizana Local Municipality |  | 951 |  | BIZANA EXTENSION 2 MV Overhead Line 3 | Unknown | 23081.13 | 1990-06-30 | 50 | 0 |  | 47446.2 | 23081.13 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 952 |  | BIZANA EXTENSION 2 MV Overhead Line 2 | Unknown | 21264.39 | 1990-06-30 | 50 | 0 |  | 43711.65 | 21264.39 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 859 |  | BIZANA MV Overhead Line 2 | Unknown | 34847.62 | 1990-06-30 | 50 | 0 |  | 71633.7 | 34847.62 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 927 |  | BIZANA EXTENSION 4 LV Overhead Line 16 | Unknown | 24316.89 | 1990-06-30 | 45 | 0 |  | 49986.46 | 24316.89 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 933 |  | BIZANA EXTENSION 4 LV Overhead Line 10 | Unknown | 15969.84 | 1990-06-30 | 45 | 0 |  | 32828.04 | 15969.84 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 820 |  | Cultural Village Transformer-Transformer | Unknown | 1000460.39 | 2004-06-30 | 45 | 0 |  | 1386991.35 | 1000460.39 | Good | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 937 |  | BIZANA EXTENSION 3 MV Overhead Line 2 | Unknown | 19137.01 | 1990-06-30 | 50 | 0 |  | 39338.55 | 19137.01 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 879 |  | BIZANA LV Overhead Line 15 | Unknown | 18234.1 | 1990-06-30 | 45 | 0 |  | 37482.5 | 18234.1 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 898 |  | BIZANA EXTENSION 4 LV Overhead Line 7 | Unknown | 12620.16 | 1990-06-30 | 45 | 0 |  | 25942.34 | 12620.16 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 921 |  | BIZANA EXTENSION 4 LV Overhead Line 21 | Unknown | 6391.56 | 1990-06-30 | 45 | 0 |  | 13138.66 | 6391.56 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 939 |  | BIZANA EXTENSION 3 LV Overhead Line 9 | Unknown | 4472.28 | 1990-06-30 | 45 | 0 |  | 9193.34 | 4472.28 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 826 |  | Main Section Breaker-Auto Recloser | Unknown | 57725.09 | 2012-10-02 | 45 | 0 |  | 83144.91 | 71621.8 | Very good | Unknown | -29.857153 S, -30.862406 E
| Mbizana Local Municipality |  | 901 |  | BIZANA EXTENSION 4 LV Overhead Line 4 | Unknown | 7369.3 | 1990-06-30 | 45 | 0 |  | 15148.54 | 7369.3 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 857 |  | BIZANA MV Overhead Line 4 | Unknown | 14430.41 | 1990-06-30 | 50 | 0 |  | 29663.55 | 14430.41 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 819 |  | Spar Substation-Distribution Board | Unknown | 9345.01 | 2000-06-30 | 45 | 0 |  | 17592.19 | 9345.01 | Fair | Unknown | -29.856495 S, -30.859886 E
| Mbizana Local Municipality |  | 920 |  | BIZANA EXTENSION 4 LV Overhead Line 22 | Unknown | 17436.46 | 1990-06-30 | 45 | 0 |  | 35842.86 | 17436.46 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 889 |  | BIZANA EXTENSION 4 MV Overhead Line 6 | Unknown | 16755.47 | 1990-06-30 | 50 | 0 |  | 34443 | 16755.47 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 923 |  | BIZANA EXTENSION 4 LV Overhead Line 2 | Unknown | 26027.95 | 1990-06-30 | 45 | 0 |  | 53503.75 | 26027.95 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 827 |  | Main Section Breaker-Main Section Breaker | Unknown | 66645.35 | 2012-10-02 | 45 | 0 |  | 95993.3 | 85249.57 | Good | Unknown | -29.857153 S, -30.862406 E
| Mbizana Local Municipality |  | 958 |  | BIZANA EXTENSION 2 LV Overhead Line 1 | Unknown | 7369.3 | 1990-06-30 | 45 | 0 |  | 15148.54 | 7369.3 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 839 |  | Highland View transformer 12-Transformer | Unknown | 78903.21 | 2010-06-30 | 45 | 0 |  | 95993.3 | 78903.21 | Very good | Unknown | -29.853300 S, -30.853370 E
| Mbizana Local Municipality |  | 862 |  | BIZANA MV Overhead Line 1 | Unknown | 115829.26 | 1990-06-30 | 50 | 0 |  | 238101.75 | 115829.26 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 778 |  | Hospital Substation-Transformer Base | Unknown | 5475.34 | 2007-06-30 | 45 | 0 |  | 7095.71 | 5475.34 | Good | Unknown | -29.854236 S, -30.861652 E
| Mbizana Local Municipality |  | 805 |  | Church St Transformer-Transformer | Unknown | 85686.11 | 2012-10-02 | 45 | 0 |  | 123418.85 | 105586.74 | Very good | Unknown | -29.853622 S, -30.863029 E
| Mbizana Local Municipality |  | 878 |  | BIZANA LV Overhead Line 16 | Unknown | 5875.82 | 1990-06-30 | 45 | 0 |  | 12078.5 | 5875.82 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 950 |  | BIZANA EXTENSION 3 LV Overhead Line 1 | Unknown | 22814.06 | 1990-06-30 | 45 | 0 |  | 46897.2 | 22814.06 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 813 |  | Highland View Transformer 8-Transformer | Unknown | 80513.48 | 2011-06-30 | 45 | 0 |  | 95993.3 | 80513.48 | Very good | Unknown | -29.851656 S, -30.854130 E
| Mbizana Local Municipality |  | 955 |  | BIZANA EXTENSION 2 LV Overhead Line 4 | Unknown | 41481.76 | 1990-06-30 | 45 | 0 |  | 85271.02 | 41481.76 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 885 |  | BIZANA LV Overhead Line 1 | Unknown | 14904.7 | 1990-06-30 | 45 | 0 |  | 30638.5 | 14904.7 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 912 |  | BIZANA EXTENSION 4 LV Overhead Line 3 | Unknown | 17210.13 | 1990-06-30 | 45 | 0 |  | 35377.61 | 17210.13 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 876 |  | BIZANA LV Overhead Line 18 | Unknown | 19325 | 1990-06-30 | 45 | 0 |  | 39725 | 19325 | Fair | Unknown | Not Available
| Mbizana Local Municipality |  | 874 |  | BIZANA LV Overhead Line 2 | Unknown | 75414.95 | 1990-06-30 | 45 | 0 |  | 155025 | 75414.95 | Fair | Unknown | Not Available

## Sheet2
Supported by
MUNICIPAL INFRASTRUCTRE SUPPORT AGENT
Letaba House, 1303 Heuwel Avenue, CENTURION, 0046, Pretoria
Cooperative Governance & Traditional Affairs (CoGTA)
REPUBLIC OF SOUTH AFRICA